## Table 1
|  |  |  | SCHEDULE OF RATES FOR IoT based Monitoring System for FC-EVC installed at TOP & DRS | [8 empty] | REPL/SGL/AMR/009/22
SGL Ref. No. - SGL:TEND:75:2022-23
Currency: INR
Item Sr. No. | Brief Description |  |  | Unit | Qty | Unit Price Ex- Works including cost of imported material / Components & custom Duty thereon, Pkg. / Fwdg. | Goods & Service Tax (GST) applicable extra on col. 3 |  | Per unit freight including service tax upto store / site by road (including loading, unloading, at site/store, Transit insurance & all other insurance till handing over.) | Goods & Service Tax (GST) applicable extra on freight col.4 |  | Unit Price - Purchaser's stores inclusive of P&F charges, applicable taxes, freight etc. (2)+(3 )+(4)+(5) | Total Price - Gujarat (FOT-Site) (6 x 1) | Remarks
[6 empty] | Amount | % | Amount | Amount | % | Amount | Amount | Amount
[5 empty] | 1 | 2 | 3 |  | 4 | 5 |  | 6 | 7
A | SITC OF IoT BASED MONITORING SYSTEM
| 1 | SITC OF IoT SYSTEM | IoT based remote communication system_ Design, Engineering, Supply, installation(erection), Testing and Commissioning of Required Hardware to get data from EVC/FC and sending to data to Central Monitoring System | EA | 60 |  | 18% | 0 |  |  |  | 0 | 0
| 2 | SITC OF COMMUNICATION/POWER CABLE | Supply, installation(erection), Testing and Commissioning Communication/Power cable as per tender specifications | M | 1000 |  | 18% | 0 |  |  |  | 0 | 0
| 3 | SITC OF POWER SUPPLY SYSTEM | Supply, installation(erection), Testing and Commissioning Solar Panel, Modular Battery, Charge Controller and associated accessories as per tender specifications | EA | 22 |  | 18% | 0 |  |  |  | 0 | 0
| 4 | SITC OF FLAMEPROOF JUNCTION BOX | Design, Engineering, Supply, Installation (erection), Testing, and Commissioning of Supply and Installation of Flameproof junction box | EA | 32 |  | 18% | 0 |  |  |  | 0 | 0
| 5 | SITC OF IoT SYSTEM SOFTW ARE_DATA ANALYTICS_APP | Design, Engineering, Supply, installation(erection), Testing, and Commissioning of Central Meter Monitoring Software, Dashboards and Reports with Download functionality, including Server, Storage, Bandwidth, Connectivity charges with concurrent users as per specification-Web Application | EA | 1 |  | 18% | 0 |  |  |  | 0 | 0
| 6 | SITC OF DATA HOSTING & PROCESSING DEVICE (Server) | Design, Engineering, Supply, Installation (erection), Testing, and Commissioning of data hosting & processing device with supporting infrastructure at Central Monitoring System-Server | EA | 1 |  | 18% | 0 |  |  |  | 0 | 0
B | SERVICES for 5 Years
| 1 | AMC OF IoT based Monitoring SYSTEM | Comprehensive Charges for AMC for Hardware & Software supplied including Remote communication hardware at the site, Central Meter Monitoring Software. | EA* | 3600 |  | 18% | 0 |  |  |  | 0 | 0
| 2 | Monthly Charges for SIM Card Connectivity | Monthly charges for SIM card connectivity | EA* | 3600 |  | 18% | 0 |  |  |  | 0 | 0
| 3 | SERVICE CHARGES Internet lease line (ILL) | Monthly charges for providing ILL supply for data hosting ( Nos. of Months) | EA | 60 |  | 18% | 0 |  |  |  | 0 | 0
| 4 | AMC OF DATA HOSTING & PROCESSING DEVICE | Comprehensive AMC for Hardware & Software supplied Server and supporting infrastructure with all server manage services 24*7 support | EA | 60 |  | 18% | 0 |  |  |  | 0 | 0
| TOTAL AMOUNT WITH TAXES AND DUTIES INR | [11 empty] | 0
Note:
1. Scope of Work and other terms and conditions are strictly as per bid document.
2. Bidder to clearly indicate 'Quoted' against each Sr. No. in the price column in the un-priced Schedule of Rates and submit the same in Un-priced part of the bid. Bidder to submit Price part of above Schedule of Rates in their Priced Bid. All column of price schedule must be filled with required information as applicable.
3. Bidder must quote the price in Schedule of Rates formats only. Bid submitted with changed format / description is liable to be rejected.
4. All the Columns of quoted items in the Schedule of Rates must be filled with required information, as applicable. Bidder can indicate "0" (zero) in any column but "included" word should not be mentioned.
5. Quoted rates are firm and fixed till complete execution of the entire order.
6. If there is a discrepancy between the unit price and the total price that is obtained by multiplying the unit price and quantity the unit price shall prevail and the total price will be corrected. If there is a discrepancy between the total amount and the sum of total prices, the sum of the total prices shall prevail and the total bid amount will be corrected.
7. Purchaser reserves the right to decrease/ increase the quantity of any item(s) as per provision of Bid document before award of contract.
8. Above quoted prices on FOT Site( Purchaser's store) basis, shall be inclusive of all & nothing shall be paid extra by Purchaser.
9. EA* quantity has been calculated as 60 devices x 60 months (payment shall be done on actual number of devices connected)
10. Power supply is available at 38 sites out of total 60 sites. Bidder to design system accordingly.

## Sheet1
Sr. | SAP DESCRIPTION | Description of Material | UoM | QTY
No.
A. SITC OF IoT BASED MONITORING SYSTEM
1 | SITC OF IoT SYSTEM | IoT based remote communication system_ Design, Engineering, Supply, installation(erection), Testing and Commissioning of Required Hardware to get data from EVC/FC and sending to data to Central Monitoring System | EA | 60
2 | SITC OF COMMUNICATION/POWER CABLE | Supply, installation(erection), Testing and Commissioning Communication/Power cable as per tender specifications | M | 1000
3 | SITC OF POWER SUPPLY SYSTEM | Supply, installation(erection), Testing and Commissioning Solar Panel, Modular Battery, Charge Controller and associated accessories as per tender specifications | EA | 45
4 | SITC OF FLAMEPROOF JUNCTION BOX | Design, Engineering, Supply, Installation (erection), Testing, and Commissioning of Supply and Installation of Flameproof junction box | EA | 60
5 | SITC OF IoT SYSTEM SOFTW ARE_DATA ANALYTICS_APP | Design, Engineering, Supply, installation(erection), Testing, and Commissioning of Central Meter Monitoring Software, Dashboards and Reports with Download functionality, including Server, Storage, Bandwidth, Connectivity charges with concurrent users as per specification | EA | 1
6 | SITC OF DATA HOSTING & PROCESSING DEVICE | Design, Engineering, Supply, Installation (erection), Testing, and Commissioning of data hosting & processing device with supporting infrastructure at Central Monitoring System | EA | 1
B. SERVICES for 5 Years
1 | AMC OF IoT based Monitoring SYSTEM | Charges for AMC for Hardware & Software supplied including Remote communication hardware at the site, Central Meter Monitoring Software. (Quarterly) | EA | 20
2 | Monthly Charges for SIM Card Connectivity | Monthly charges for Central Meter Monitoring Software and SIM card connectivity (No. of Months) | EA | 60
3 | SERVICE CHARGES Internet lease line (ILL) | Monthly charges for providing ILL supply for data hosting ( Nos. of Months) | EA | 60
4 | AMC OF DATA HOSTING & PROCESSING DEVICE | AMC for Hardware & Software supplied Server and supporting infrastructure with all server manage services 24*7 support (Half Yearly) | EA | 10