## MDPE_LMC
SCHEDULE OF RATES (SOR) LAYING OF PE-100 GRADE PE PIPELINE AT COTONOU, BENIN OF WEST AFRICA TENDER NO: AIIP/REPL/004/C-PE
Name of Bidder:
SOR Item No. | ITEM DESCRIPTION |  | Unit | Quantity | Unit Rate (inclusive of all taxes and duties ) (in Euro "€" ) | Total Cost (inclusive of all taxes and duties) (in Euro "€")
1 | 2 |  | 3 | 4 | 5 | 6 = (5 X 4)
SECTION-I : PE WORK
1 | PE PIPE LINE LAYING IN ALL TYPE OF SOIL STRATA INCLUDING HARD ROCK, USING ANY (EXCEPT HDD) LAYING METHODOLOGY (OPEN CUT/MOLING/CROSSING)
1.1 | Laying ,Pneumatic Testing & Nitrogen Purging of PE100 pipe 63 mm Dia (SDR11) |  | Mtr. | 1000 |  | 0
1.2 | Laying ,Pneumatic Testing & Nitrogen Purging of PE100 pipe 125 mm Dia (SDR11) |  | Mtr. | 9500
1.3 | Laying ,Pneumatic Testing & Nitrogen Purging of PE100 pipe 180 mm Dia (SDR11) |  | Mtr. | 8000 |  | 0
1.4 | Laying ,Pneumatic Testing & Nitrogen Purging of PE100 pipe 63 mm/125 mm/180mm Dia (SDR11) in already laid Casing Pipe (Hume Pipe/PVC Pipe etc.) |  | Mtr. | 100
| Note: 1. Free Issue material includes PE Pipe, PE Fittings, Valve, MRS & DRS 2. Installation of all PE100 fitting & Valves for safely commissioning of entire network shall be in the scope of Contractor. |  |  |  |  | 0
2 | PE PIPE LINE LAYING BY HDD METHOD IN ALL TYPE OF SOIL STRATA INCLUDING HARD ROCK STRATA WITH CASING (INCLUDING SUPPLY & INSTALLATION OF HDPE CASING PIPES)
2.1 | i | Laying,testing & Nitrogen purging of 63 mm Dia PE100 by HDD method in all type of soil strata including hard rock strata with casing as per instruction of EIC. | Mtr. | 100 |  | 0
2.2 | ii | Laying,testing & Nitrogen purging of 125 mm Dia PE100 by HDD method in all type of soil strata including hard rock strata with casing as per instruction of EIC. | Mtr. | 100 |  | 0
2.3 | iii | Laying,testing & Nitrogen purging of 180 mm Dia PE100 by HDD method in all type of soil strata including hard rock strata with casing as per instruction of EIC. | Mtr. | 700 |  | 0
3 | PE PIPE LINE LAYING BY HDD METHOD IN ALL TYPE OF SOIL STRATA INCLUDING HARD ROCK STRATA WITHOUT CASING
3.1 | i | Laying, testing & Nitrogen purging of 63 mm Dia PE100 by HDD method in all type of soil strata including hard rock strata without casing with as per instruction of EIC. | Mtr. | 100 |  | 0
3.2 | ii | Laying, testing & Nitrogen purgingof 125 mm Dia PE100 by HDD method in all type of soil strata including hard rock strata without casing as per instruction of EIC. | Mtr. | 5900 |  | 0
3.3 | iii | Laying, testing & Nitrogen purging of 180 mm Dia PE100 by HDD method in all type of soil strata including hard rock strata without casing as per instruction of EIC. | Mtr. | 1000 |  | 0
4 | EXCAVATION OF HARD ROCK
Trenching of Hard Rock is defined as trench material with a single piece of rock, dimension exceeding 1.0 meter in any direction, which requires cutting only by use of manual/pneumatic chisel/drill or sledge hammer and chiesel or removal of same by additional techniques. The disposal of excess rock as per the requirement of authorities. The rates are payable over and above the laying rates as per relevant SOR Item No. 1.
4.1 | Excavation of Hard rock |  | CU.M. | 500
5 | FABRICATION & INSTALLATION OF PIPELINE MARKERS |  |  |  |  | 0
| Supply and Installation of Stone Route Markers, Powder Coated Plate / Pole Markers as per the attached drawings, along the route / along boundary wall, lamp posts including all associated civil works such as excavation and construction in all types of soils, construction of pedestals of RCC(C-20) and PCC (1:4:8) and grouting with concrete, cleaning, supply and application of approved colour and quality of primer and paint, stencil letter cutting of numbers, direction, chainage etc., restoration of area to original condition and performing all works as per drawings, specification and instruction of Engineer-in-Charge. The rates shall include liaison rates with statutory bodies and restoration rates and no separate rates are payable under this SOR. ( Minimum cement content required for C-20 grade concrete is = 400-450 kg/m3 of conctrete ) |  |  |  |  | 0
5.1 | Stone Route/ RCC Markers as per Drawing and as per instruction of EIC and specifications. |  | Nos | 500 |  | 0
5.2 | Pole markers with foundation as per Drawing and instructions of EIC and specification. |  | Nos | 50 |  | 0
5.3 | Plate marker as per Drawing at house as per instruction of EIC and specifications. |  | Nos | 100 |  | 0
6 | RESTORATION OF TRENCHES |  |  |  |  | 0
| Restoration to original conditions of dismantled surface like Asphalted/Bituminous Road, Concrete Pavement, Stones / Tiles (Chequered/interlocking etc.), Dry Brick Pavement as per the technical specifications attached in the tender after laying of pipeline in Built- Up surface, as per the directions of EIC / Site lncharge. Restoration of society to original conditions and get NOC from society for payments .Scope includes supply of the approved quality material, testing of materials by third party agencies as per technical specification Standards, submission of the restoration reports, obtaining no objection certificates from the concern local authorities /land owners / third party inspection agencies designated by land owing agencies and Owner. |  |  |  |  | 0
6.1 | a | Asphalt/Bituminous Road | RM | 5500 |  | 0
6.2 | b | Concrete Pavement, | RM | 2000 |  | 0
SECTION -II : CIVIL WORKS
7 | EQUIPMENT FOUNDATION WORKS: (EXCAVATION, PROVIDING AND LAYING REINFORCED CEMENT CONCRETE (C-15)) ( Minimum cement content required for C-15 grade concrete is = 280-300 kg/m3 of conctrete ) |  |  |  |  | 0
7.1 | Excavation in any plane & dimension including disposal of excavated earth up to any lead in all conditions, backfilling using serviceable earth and disposal of surplus and unserviceable earth. Soil to be levelled and properly compacted complete in all respect as per scope of work, technical specification and directions of EIC. Providing and laying REINFORCED CEMENT CONCRETE OF C-15 Grade (Concrete shall be design mix / nominal mix) with 20mm & down size graded crushed stone aggregates in NON SUSPENDED slabs/pavement slabs including pedestals, ramps etc., laying in alternate panels to required slopes, all necessary form work and finishing the top surface rough or smooth as required and directed, providing pockets/openings etc. including vibrating, tampering, curing, rendering and making smooth if required in any position, shape, level and thickness etc. as specified and directed by EIC. The rates include grouting of pockets, supply of material, shuttering, tools & tackles, Reinforcement etc. |  | CU.M. | 45 |  | 0
8 | INSTALLATIONS OF DISTRICT REGULATATING STATION (DRS) , METER REGULATING STATION (MRS) AND INDUSTRIAL METERING SKID (Including Loading, Unloading, transportation from the client store to the site, loading at the site and installation of safety signages such as NO smoking, Emergency No. etc) |  |  |  |  | 0
8.1 | Installations of service regulator with all associated work at foundation and hooking up with PE pipe line by transition fitting. Payment towards civil foundation work & structural work for gate and fencing shall be payable as per relevant SOR items. |  |  |  |  | 0
8.2 | Installation of DRS with ciwil work with all associated work at foundation and hooking up with PE pipe line by transition fitting |  | Nos | 3 |  | 0
8.3 | Installation of Industrial Skid (MRS) with ciwil work with all associated work at foundation and hooking up with PE pipe line by transition fitting |  | Nos | 7 |  | 0
9 | INSTALLATION OF VALVE CHAMBERS: |  |  |  |  | 0
| All civil works including excavation of pit, piping supports including all PCC, RCC and Brick works for valve pits, sand filling to cover valve body and pits, pedestals with insert plates as required, sealing of pipes in pits, providing cover etc., finishing, clean up and restoration. The work shall be executed as per specification. Also providing water proofing agents internal and external plaster of chamber to avoid water seepage. (Refer Drawing) |  |  |  |  | 0
9.1 | RCC Valve Chambers- Size (L x W)- 1 m x 1 m |  | Nos | 20
9.2 | RCC Valve Chambers- Size (L x W)- 1 m x 1.5 m |  | Nos | 10 |  | 0
9.3 | Brick Valve Chambers- Size (L x W)- 1 m x 1 m |  | Nos | 10
9.4 | Brick Valve Chambers- Size (L x W)- 1 m x 1.5 m |  | Nos | 10 |  | 0
10 | MATERIAL SUPPLY, FABRICATION AND INSTALLATION OF FENCING AND GATE (INCLUDING CIVIL WORKS) AS PER ATTACHED STANDARD DRAWINGS IN TECHNICAL VIOLUME: Supply of all materials, fabrication and erection of chain link fencing (incl. Gate same as chain link fencing) complete in all respect including painting as per EIC, all works as per specification and Tender Drawing, complete to the satisfaction of EIC. |  | Mtr. | 100 |  | 0
11 | CONSTRUCTION OF EARTHING PIT Including carrying out necessary excavation & backfilling, providing necessarywatering arrangement for the pit, providing necessary charcoal, salt dust, etc. and providing a proper Earth Pit Cover made up of RCC incl. including supply of all the earthing materials required for the purpose of grounding the body of all electrical equipment for the purpose of grounding of the neutral of DRS/MRS/PRS etc as per attached standard drawing in Technical Volume. Earth Pit Resistance shall be measured, recorded and submitted to Engineer In Charge for reference & records. Mobilization of Earth Test Megger for measurement of earth PIT Resistance is the responsibility of the Contractor. The Earth Pit Cover shall be painted as follows for identification purpose. The job shall be complete in all respects including the cost of all materials, tools, labour, etc. |  | Nos | 5
12 | GROOVE CUTTING: Groove Cuting in Asphalt/RCC/CC/PCC etc. with supply of all types tools, material, manpower, etc. as required and bitumen filling (if required) in the gap after trench restoration as per specification and cleaning the area complete to the satisfaction of EIC. In this SOR, running meter means cutting of both sides of the trench are per running trench length. |  | Mtr. | 200
| Note: 1. Installation of PE100 valve (Long stem Purging type) shall be in the scope of contractor & shall be paid along the laying of PE pipe SOR line items no. 1. No extra cost shall be paid else where. |  |  |  |  | 0
Total Cost ( Euro "€") | [5 empty] | 0
Note:
1. The Unit rate shall be in Euros terms only.
2. The quantity indicated above are Tentative.
3. Bidder to quote full quantitites of quotes parts. Bidder quoted with part quantities of quotes part shall be liable for rejection.
4. Quoted unit price shall be inclusive of all taxes and duties.
5. Bidder shall quote prices in given format of Schedule of Rates and shall not modify the format in any form.
6. Bidder to clearly indicate 'Quoted' against each Sr. No. in the price column in the un-priced Schedule of Rates and submit the same in the un-priced part of the bid.
7. All Above works shall be executed in accordance with SCOPE OF WORK, Technical Specification (PTS & GTS), Data Sheets, QAP, Drawings and other provision of bid documents and instruction of Owner/ Owner's Representative.
8. Work is inclusive of receiving, taking over, loading & unloading, storage of company supplied material and return of surplus material to Company's designated stockyard/store.
9. Prices quoted shall include the following
a) All handling , transportation including marine transportation( if applicable) , liason , port fee, ware house , handling , all fees customs duty etc.
b) FOR CIVIL WORKS : All labours, tools, tackies, equipment, hire charges, Supply of all materials, shuttering, earthwork in excavation and backfilling using approved earth in all conditions etc. with all by works and sundry works.)
c) FOR RCC : all labour, tools, tackles, equipment, hire charges, supply of all materials such as minimum 43 grade cement including sulphate resistant cement for sub-structures, R/F steel, inserts, bolts, conduits, bitumen, other minor construction materials, shuttering, stanging, eartwork in excavation and backfilling using serviceable earth in all conditions, shorting bailing and pumping out water, testing of concrete, curing etc. with all by works and sundry works.
10. For completion of work in all respects, if anything is mentioned in detailed scope but not mentioned in SOR shall be considered as scope of work and for execution of that item, no extra payment shall be made.
11. Owner supplied Material, Free Issue Materials (FIM) includes PE PIPE, PE Valves, PE Fittings, etc. The responsibility of FIM once issued, lies with CONTRACTOR However, Erection, Installation and integration of these free issue materials is in Contractor's scope. Receiving, taking over, loading & unloading, storage of company supplied material Free issue Materials from Owner's storage to Site is in Contractor's Scope. Reconcillation and returning of surplus items to owners designated material storage yard.
Authorized signatory of Bidder: |  |  | Place:
Seal of Bidder: |  |  | Date: